| Insert name of your company here |  |  |  |  |
| --- | --- | --- | --- | --- |
| Handover checklist and completion certificate |  |  |  |  |
| Date |  | Engineer |  |  |
| Invoice address |  | Site address |  |  |
| Items to check with the customer |  |  |  | Y / N |
| Has the customer been fully instructed on the use of the system? |  |  |  |  |
| Has the customer been given written instructions for the system? |  |  |  |  |
| Extent of detection coverage demonstrated? |  |  |  |  |
| Have all certificates and documents been issued to the customer? |  |  |  |  |
| Have all surplus materials been cleared from the site? |  |  |  |  |
| Has the site been left in a clean and tidy condition? |  |  |  |  |
| Customer acknowledges receipt and correct operation of keys/codes? |  |  |  |  |
| List of changes and deviations to be recorded on revised specification |  |  |  |  |
| List any work still to be completed |  |  |  |  |
| I/We, the users of the system, agree that the above items have been completed to our satisfaction |  |  |  |  |
| User to sign and add date |  |  |  |  |

| Engineering checks | Comments / results |
| --- | --- |
| Is the installation in accordance with the specification and Industry Standards |  |
| Has the mains supply been tested and certificated? |  |
| Is the fuse in the un-switched fuse spur of the correct size? |  |
| Have all interconnections been clearly marked at the CIE |  |
| Interconnection resistances logged/ Bus wired interconnections checked? |  |
| Has the record of system checks been correctly completed? |  |
| Are all batteries marked with the date of installation? |  |
| Power supply currents (alarm and quiescent) logged? |  |
| System functions correctly and device voltages OK when mains removed? |  |
| Has the site log been issued and the installation date recorded? |  |
| Does each detection device cover the correct area fully? |  |
| Does every detection device work correctly to the CIE |  |
| If fitted, does masking/range reduction operate correctly? |  |
| Does every tamper circuit operate correctly to the CIE |  |
| Have all entry/exit routes been checked for correct operation? |  |
| Are all batteries of sufficient capacity? |  |
| Do the SAB/SCB units work correctly even when hold off removed? |  |
| Correct operation/notification when system set and device triggered? |  |
| All ATS paths checked for correct receipt of signals at ARC? |  |
| If enabled - remote system checks/support: synchronisation of site specific parameters between I&HAS and secure computer checked? |  |
| Is the system fully operational and ready for customer use? |  |
| I declare that all the above items have been completed to both the customers and my satisfaction |  |
| Engineer to sign and add date |  |