| Insert name of your company here |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test meter comparison record |  |  |  |  |  |  |  |  |  |
| This form is to use to check on the suitability of calibration when it is not a requirement to send meters away for full calibration |  |  |  |  |  |  |  |  |  |
| This form may be used when there is a calibrated master meter for comparison or where there are three meters or more for cross-reference |  |  |  |  |  |  |  |  |  |
|  |  |  | Meter number 1 | Meter number 2 | Meter number 3 | Meter number 4 |  | Meter number 5 | Meter number 6 |
| Serial No of meter |  |  |  |  |  |  |  |  |  |
| Range | Sample value |  | Found to read | Found to read | Found to read | Found to read |  | Found to read | Found to read |
| Voltage |  |  |  |  |  |  |  |  |  |
| up to 30V DC |  |  |  |  |  |  |  |  |  |
| up to 30V AC |  |  |  |  |  |  |  |  |  |
| 110V AC supply |  |  |  |  |  |  |  |  |  |
| 240V AC supply |  |  |  |  |  |  |  |  |  |
| Direct Current |  |  |  |  |  |  |  |  |  |
| up to 200mA |  |  |  |  |  |  |  |  |  |
| up to 2A |  |  |  |  |  |  |  |  |  |
| up to 5A |  |  |  |  |  |  |  |  |  |
| Alternating Current |  |  |  |  |  |  |  |  |  |
| up to 200mA |  |  |  |  |  |  |  |  |  |
| up to 2A |  |  |  |  |  |  |  |  |  |
| up to 5A |  |  |  |  |  |  |  |  |  |
| Resistance |  |  |  |  |  |  |  |  |  |
| up to 200Ω |  |  |  |  |  |  |  |  |  |
| 200 to 2kΩ |  |  |  |  |  |  |  |  |  |
| 2kΩ to 20kΩ |  |  |  |  |  |  |  |  |  |
| 20kΩ to 2MΩ |  |  |  |  |  |  |  |  |  |
| over 2MΩ |  |  |  |  |  |  |  |  |  |
| Found acceptable? (Y/N) |  |  |  |  |  |  |  |  |  |
| Notes: |  |  |  |  |  |  |  |  |  |
| Checked by (sign and date) |  |  |  |  | Confirmed by (sign and date) |  |  |  |  |