| Inspection report number |  | Total points |  | NSI grade (A-E) |  |
| --- | --- | --- | --- | --- | --- |

| Name and address of installation |  |
| --- | --- |

| Code |  | Area of audit |  | Check | Code |  | Area of audit | Check |  | Code |  |  | Area of audit |  | Check |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DOCUMENTATION |  |  |  |  | ENVIRONMENTAL PRECAUTIONS |  |  |  |  | ACCESS POINT HARDWARE |  |  |  |  |  |  |
| A1 | Survey |  |  |  | E1-E2 |  | Rating and protection |  |  | J1-J2 | Physical security and duty cycle |  |  |  |  |  |
| A2 | ID cards |  |  |  | E3 |  | Battery powered tokens |  |  | J3 | Environmental effects |  |  |  |  |  |
| A3 | Commissioning |  |  |  | CABLE INSTALLATION |  |  |  |  | J4-J9 | Doors, hinges, frames and closing devices |  |  |  |  |  |
| A4 | As-fitted document |  |  |  | F1-F4 |  | Location and protection |  |  | J10 | Door releases |  |  |  |  |  |
| A5 | NSI Certificate |  |  |  | F5-F6 |  | Support and jointing |  |  | J11 | Key override |  |  |  |  |  |
| A6 | Historical records |  |  |  | F7-F9 |  | Rating and segregation |  |  | POWER SUPPLIES |  |  |  |  |  |  |
| HANDOVER AND TRAINING |  |  |  |  | F10 |  | Flexible cables |  |  | K1-K2 | Loading and ACU voltage |  |  |  |  |  |
| B1-B3 | Documentation and training |  |  |  | READER FUNCTIONS AND INDICATIONS |  |  |  |  | K3-K6 | Location, connection and cabling |  |  |  |  |  |
| SAFETY REQUIREMENTS |  |  |  |  | G1 |  | Indication for access granted |  |  | K7 | Standby power supply |  |  |  |  |  |
| C1-C2 | Safe exit |  |  |  | G2 |  | Variable time for access |  |  | CONTROLS |  |  |  |  |  |  |
| C3 | Marking housings |  |  |  | G3 |  | Tamper detection of locks |  |  | L1-L3 | Access and environment |  |  |  |  |  |
| SECURITY REQUIREMENTS |  |  |  |  | G4-G5 |  | Reader response time and re-locking of access point |  |  | MAINTENANCE |  |  |  |  |  |  |
| D1-D2 | Classification of access points |  |  |  | MOUNTING READERS |  |  |  |  | M1-M2 | Preventive maintenance |  |  |  |  |  |
| D3-D7 | Protection from unauthorised interference |  |  |  | H1-H3 |  | Mounting and location |  |  | M3 | Corrective maintenance |  |  |  |  |  |
| Note: Annotate check column as: |  |  |  |  |  | If part of the installation has not been checked please give explanation on reverse of this sheet. |  |  | Signed: |  |  |  |  |  |  |  |
| Satisfactory |  |  |  or Sat |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Unsatisfactory (Deviation or Observation) |  |  | * or Unsat/Obs |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Not checked |  |  | N/C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Not applicable |  |  | N/A |  |  |  |  |  | Date: |  |  |  |  |  |  |  |