Typical Alarm Co. Ltd

Access Control Survey & Risk Assessment

# To be completed prior to design proposal being produced

| Site name |  |
| --- | --- |
| Date Survey completed (If done from drawings, please state) |  |
| Client contact name |  |
| Client contact phone number |  |
| Client contact email |  |

Where the site survey is carried out by the security company, the following must be considered and documented.

You must determine the classification of each access point during the design stage.

Drawings and/or photographs and/or notes of the proposed location, including details of class (see Door Security Class identification section below) and risk locations.  (If the space below is not sufficient, attach a separate sheet to this document).

Comment on the required locking type (i.e. Fail Secure /Fail Open), are doors fire rated / classed as Emergency or Panic doors (EN179/EN1125). If so, ensure the correct lock type is selected and door furniture is considered.

Comment on the requirements for battery backup and length of backup required.

Comment on local environmental concerns that may affect the design (public access, risk of vandalism, etc. DDA requirements).

Comment on the availability of communications and power.

Comment on the requirements by the customer (i.e. networks, firewall ports, server equipment to run software etc.)

Comment on any interfaces required with other services (i.e. fire systems, door openers, CCTV).

Comment on restrictions on site access, health & safety concerns, specialist access equipment.

When designing an access control system, you must ensure that it does not:

Conflict with fire regulations, Building Regulations, or Construction Product Regulations. B. Restrict exits in a way that endangers people in an emergency or panic situation.

To address these concerns, consider the following aspects:

- Door Type: If the door is classified as an emergency or panic exit door, then the access control equipment and door furniture to be selected for the access point must not change the original design or operation of the door.

- Power Failure Operation: Determine how access points will function during mains power failure and the duration or number of transactions required in such circumstances.

- Fail-Safe Mechanisms: Decide whether access points should fail locked or fail unlocked.

- Secondary Locking Devices: Assess whether secondary non-controlled locking devices should be installed on external doors that fail unlocked.

- Key Override: Consider if a key override is necessary for any critical doors to facilitate access during an emergency.

- Data Retention: Ensure ACUs retain data during data bus or power failures until the central computer or processor is operational.

- Standby Power: Evaluate if standby power is required for the database (e.g. if stored on a computer) to maintain its integrity during power failures.

- Access Control Technology: Select access control technology that provides an appropriate level of security for the risk being protected.

- Equipment Selection and Siting: Choose electronic equipment and determine its placement, considering environmental conditions and potential vandalism.

- Access Point Hardware: Select access point hardware based on the volume of traffic, environmental conditions, and the level of physical security needed.

- User Numbers and Access Levels: Plan for the numbers of users, access levels, and time zones required, considering both current and future needs.

- Protection Against Malicious Damage: Determine if certain equipment needs protection from malicious damage.

- Secure Equipment Placement: Ensure that equipment such as controllers and printers are located in a secure area.

- Access Points: Assess the number of access points required, considering peak periods of use.

- Customer LAN Integration: Decide whether to use an existing customer local area network (LAN).

- Maintenance Access: Ensure ease of access to ACUs and power supplies for preventive and corrective maintenance.

| Surveyor Name |  |
| --- | --- |
| Survey completed on |  |
| Survey Reference number |  |
| Confirm above points relating to access points have been considered | YES / NO |

Door Security Class identification (see Section 4.3, NCP 109 Issue 4)

Class I (low risk)

At an access point to Class I, access will only be granted following:

The input of a correct common code (or the input of a correct PIN code) of not less than 10,000 differs. 10,000 differs requires a 4 digit code number such as 1234.

Class II (low to medium risk)

At an access point to Class II, access will only be granted following:

Option A - the input of a correct PIN code of not less than 1,000,000 differs;

or

Option B - the presentation of a valid unique token to a reader

Class III (medium to high risk)

At an access point to Class III, access will only be granted following:

Option A - the input of a correct PIN code of not less than 10,000 differs AND the presentation of a valid unique token to a reader;

or

Option B - the presentation of a valid biometric to a reader.

Class IV (high risk)

At an access point to Class IV, access will only be granted following:

Option A - the presentation of a valid biometric to a reader AND the presentation of a valid unique token using radio frequency identification (RFID)*;

or

Option B - the presentation of a valid biometric to a reader AND the presentation of a valid unique token to a reader AND the presentation of a correct PIN code of not less than 10,000 differs.

Access point design has a substantial bearing on the performance and reliability of an access control system.